| EQUIPMENT | MFG. | MODEL | DOM | SERVICE HOURS |
| --- | --- | --- | --- | --- |
| GENSET 6 MW | Engine: WÄRTSILÄ Generator: ABB | Engine: 18V34SG Generator: AMG 0900LR08. | 2004 | 26,448 |
| GENSET 4 MW | Engine: WÄRTSILÄ Generator: ABB | Engine: 12V34SG Generator: AMG 0900LR08 | 2004 | 23,411 |
| Transformer 7,5 MVA | OASA | 7500/20 | 2004 | 21.510 |
| Transformer 5,0 MVA | OASA | 5000/20 | 2004 | 19.843 |
| Remote control/trip | ELIOP | SISTEDI S-4 | 2004 | 29.000 |
| Kit with 2 high pressure air compressors (30 bar) | SPERRE | HL2/120 | 2004 | 29.000 |
| 2 compressed air tanks | INTEGASA | 41-150-IND | 2004 | 29.000 |
| Use lube oil tank (25 m3) | WÄRTSILÄ | Nº 5393 | 2004 | 29.000 |

Miscellaneous Ancillaries

1 x engine control panel

1 x emergency cut off panel

2x low voltage control panels

2 x emission  control units

2 x H V control panels

2 x LV distribution panels

H V cables

LV cables various

Electrical fans & cages x 16

Waste oil pump trolley

Pressure fans x 2

Gas injector system carriages x 2

3 x pallets pipe sections

Manuals and research documents

Two pallets of water valves

2 x Large engine water filters

Intercoolers for engine 1 & 2

Exhaust systems x 2

2 x water filters

Electric motor and water pump

High voltage cables

Pipework – Nuts Bolts & Gantry

Double Air Compressor

Pipework & Gantry Floor Sections

Engine Mounting Springs

Engine Pipe Work

Gantry Walkway

Low Voltage Cables