| QUOTATION |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Quotation date (valid time: 15days) |  |  |  | 2018.12.10 |  |  |
| Project : Modern Prefab House (HS code:9406000090 ;picture just for reference ) |  |  |  |  |  |  |
| House Cost |  |  |  |  |  |  |
| Item | Dimension | Area(㎡) |  | Single Building Price ($) | Quantity (set) | Total price($) |

| House | 16.5*7*4.9m | 110 |  | $50,369.00 | 1 | $55,000.00 |
| --- | --- | --- | --- | --- | --- | --- |
| Total Cost |  |  |  |  |  | $55,000.00 |
| Theporice is CIF ASWP. |  |  |  |  |  |  |
| Remark |  | Delivery Time: 10 days after received 50% deposit, need final confirmation |  |  |  |  |
|  |  | Payment: T/T 50% as deposit, 50% balance before loading from factory |  |  |  |  |
|  |  | Loading: it need final confirmation. |  |  |  |  |
| Installation |  | - We can give you the processing drawing to guide the installation. - We can send our skill worker to your country to guide work,you need to provide return air tickets; visa cost,accommodation ,salary USD120/day.need to final confirmation - You can send your worker to our factory to learn installation. |  |  |  |  |
| Main Material Lists |  |  |  |  |  |  |
| No. | Component | Materials (need to final confirmation ,according to design) |  |  | Thickness (mm) | Photo |
| 1 | Pillar | 150 * 150mm Square Tube |  |  | 4mm |  |
| 2 | Ring Beam | 100*100mm Square Tube |  |  | 3mm |  |
| 3 | Roof Purlin | 40*80mm Square Tube |  |  | 2mm |  |
| 4 | Roof Beam | 80*80mm Square Tube |  |  | 3mm |  |

| 5 | Wall Panel | PU Sandwich Panel | 100*950mm |  |
| --- | --- | --- | --- | --- |
| 6 | Partition Wall Panel | PU Sandwich Panel | 100*950mm |  |
| 7 | Roof Panel | PU Sandwich Panel | 50*950mm |  |
| 8 | Roof Tile | Steel Sheet | 0.476mm |  |
| 9 | Ceiling Decoration | Charcoal fiber decoration panel | 200 *10mm |  |
| 10 | Exterior Wall Decoration | PU Decoration Wall Panel | 3080 *380mm |  |
| 11 | Interior Wall Decoration | Charcoal fiber decoration panel | 300*3000mm |  |
| 12 | Floor Decoration | Ceramic TIile | 800*800mm |  |
| 13 | Door | Glass Aluminum Sliding Door | 4500*3000mm |  |
| 14 | Window | Glass Aluminum Sliding Window | 1500*1000mm |  |

| 15 | Toilet Door | Ecological Door |  | 700*2000mm |  |
| --- | --- | --- | --- | --- | --- |
| 16 | Accessories | screw,rivet,bolt and sealant etc |  |  |  |
| 17 | Water & Eletricity | Wires, tubes, sockets, switches |  |  |  |
| Exported Countries |  |  |  |  |  |
| Asia : Korea，India ,malaysia ,Thailad,Kuwait, Jordan ,Indonesia,Qatar,Oman,Philippines |  |  | Europe: Spain,England |  |  |
| Africa: Cameroon, mozambique, Mauritius,Ethiopia Angola,South Africa,Djibouti,Congo |  |  | South America: Trinidad andTobago,Chile, Brazil,Colombia,Bolivia,Suriname,Uruguay, venezuela |  |  |
| Oceania:Australia ，Kiribati |  |  |  |  |  |
| Technical Parameter |  |  |  |  |  |
| No | Project Name | Value | No | Project Name | Value |
| 1 | Roof load | ≧65kilograms/m2 | 5 | Wall deformation | ≦65kilograms/m2 |
| 2 | Flooring load | ≧150kilograms/m2 | 6 | Seismic grade | 7-magnitude |
| 3 | Aisle load | ≧200kilograms/m2 | 7 | Wind loading | ≧100km/h |
| 4 | Wall side stress | ≧80kilograms/m2 | 8 | Fire proof | B1 grade |