## Sheet1
ITEM | DESCRIPTION | MODEL | Q'TY
1 | SOLAR GAS TURBIN GENERATOR | 7500KW | 1
2 | SOLAR GAS TURBIN GENERATOR | 7500KW | 1
3 | Integrated automation system | CBZ-8000Y | 1
4 | Natural gas distributor device module | 30*10 4Nm | 1
5 | Operate control station | SJK3000 | 1
6 | Air tank |  | 1
7 | Air purifier | 6 c/m | 1
8 | regular | EZR-16EBH | 1
9 | 10KV Vacuum circuit BREAKER | PTIOKA | 1
10 | Gas filter | QJF-V30A/4 | 1
11 | 10KV Vacuum circuit BREAKER cable | 2S8-X | 1
12 | Gas filter | QJF-V30A/4 | 1
13 | 10KV Bus voltage transformer | 10KV 2S8-X | 1
14 | 12KC gas heater | PGQ-L-120 | 1
15 | Three-phase asynchronous generator |  | 1
16 | Natural gas cyclone separator |  | 1
17 | 10KV Vacuum circuit BREAKER cable | 2S8-X | 1
18 | 12KC gas heater | PGQ-L-120 | 1
19 | low voltage switch cabinet | ABB-MNS | 1
20 | low voltage switch cabinet | ABB-MNS | 1
21 | low voltage switch cabinet | ABB-MNS | 1
22 | Regulator valve |  | 1
23 | Power transmitter |  | 1
24 | Power transmitter |  | 1
25 | Submersible sewage pump |  | 1
26 | Prefilter |  | 1
27 | Pneumatic emergency shut-off valve |  | 1
28 | Integrated temperature transmitter |  | 1
29 | Busbar isolation cabinet trolley | 1250A | 1
30 | Screw type compressor | LU22-8 | 1
31 | Low voltage switch cabinet | ABB-MNS | 1
32 | Low voltage switch cabinet | ABB-MNS | 1
33 | Pressure switch | H122P-376 | 1
34 | Low voltage switch cabinet | ABB-MNS | 1
35 | Regulater valve |  | 1
36 | Screw type compressor | LU22-8 | 1
37 | Low voltage switch cabinet | ABB-MNS | 1
38 | Acid resistant pump |  | 1
39 | Acid resistant pump |  | 1
40 | Power transmitter |  | 1
41 | Regulater valve |  | 1
42 | Gas turbine inlet |  | 1
43 | Handheld programmer |  | 1
44 | Heat-free regenerative dryer |  | 1
45 | Swirling flow meter |  | 1
46 | Gas detection alarm |  | 1
47 | Hydrogen sulfide gas detector |  | 1
48 | Gas detection alarm |  | 1
49 | Gas detection alarm |  | 1
50 | Gas detection alarm |  | 1
51 | Gas detection alarm |  | 1
52 | Gas detection alarm |  | 1
53 | Gas detection alarm |  | 1
54 | Gas detection alarm |  | 1