For Sale

Exclusive Offer

# 2 – STX MAN 18V32/40 HFO Gensets

# with 60 Hz

Technical Data

Make: STX-MAN

Model: 18V32/40

Year: 2011

MCR 9080kW

Fuel: 				Diesel/HFO

Fuel Consumption: 	183g/kWh

Type: 			Four stroke cycle, single acting, trunk piston type,

Supercharged and intercooled

Cylinder bore:		320mm

Cylinder stroke:		400mm

Piston displacement:	45.4 ℓ/cyl

Compression ratio:	13.9:1

(GENERATOR)

Make: 			Hyundai(Korea)

Year:				2011

Generator: 			11032KVA

RPM: 			720

Voltage:			13800V

Phase: 			3

Frequency:			60HZ

Poles:			10

Power Factor:		0.8

3rd party inspection can be arranged by the buyer due to covid-19 travel restrictions.

Pictures and drawings are enclosed.

Pricing is based on as is/where is, and units can be purchased individually.

$1,370,000.00 each Fob.

Please contact us at the following numbers below: