|  |
| --- |
| 12/03/2022 |
| 22001 |
| within 15days |

Date: Order #: Valid Time:

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Hospital Auxiliary Supplies and Equipment | | | | | | |
| S/N | Material | Dimension | Specification | Quantity |  |  |
| 1 | Bedside tables |  | L\*W\*H 480\*480\*760mm | 240 |  |  |
| 2 | locker |  |  | 150 |  |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 3 | Medical staff rest beds |  |  | 20 |  |  |
| 4 | hot water tank |  | 80L | 101 |  |  |
| 5 | water tank |  | 1000L | 2 |  |  |
| 6 | Complete bathroom |  | 1.4x1.1m | 96 |  |  |



|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 7 | Stainless steel washbasin for ICU operating room |  | 1.5x0.6x1.8m | 8 |  |  |
| 8 | Dunnage sink |  |  | 13 |  |  |
| 9 | toilet |  |  | 5 |  |  |
| 10 | basin |  |  | 3 |  |  |



|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 11 | partition for bathroom |  |  | 5 |  |  |
| 12 | air-conditioner |  | 1.5bt | 136 |  |  |
| 13 | Dry powder fire extinguishers |  | 4KGS | 120 |  |  |
| 14 | CO2 fire extinguishers |  | 4kgs | 18 |  |  |



|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 15 | Firefighting cabinet |  |  | 30 |  |  |
| 16 | screening |  | l\*h 2000x1800mm | 120 |  |  |
| 17 | Medical washing machines |  | 1750\*1650\*1830mm/50kgs | 2 |  |  |
| 18 | dryer |  | 1500\*1700\*2400mm | 2 |  |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 19 | dining table with chair |  | one table with 4chairs size 1450\*1200mm | 35 |  |  |
| 20 | kitchen basin |  |  | 3 |  |  |
| 21 | kitchen cabinet |  | 5x0.5x0.85m | 2 |  |  |
| 22 | Gas cooker |  |  | 3 |  |  |



|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 23 | Electric oven |  |  | 2 |  |  |
| 24 | Pharmacy shelves |  | 10m+20m | 30 |  |  |
| 25 | shelves |  | 30m | 30 |  |  |
| 26 | shelves |  | 10m | 10 |  |  |





|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 27 | File cabinet |  | 800x390x1800mm | 10 |  |  |
| 28 | Doctor's desk and chair |  |  | 30 |  |  |
| 29 | Ward chair |  |  | 130 |  |  |
| 30 | Nursing station tables and chairs |  | 3 table joint for 1unit | 5 |  |  |



|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 31 | Pagers |  |  |  |  |  |
| 32 | Electrical Distribution Boxes |  | 360m2 |  |  |  |
| 33 | Bed Equipment Strap |  | 200x55x1.5mm -6m long | 240 |  |  |
| 34 | Access handrails |  | 1.4length | 696 |  |  |



|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 35 | socket and switch and wrie |  | each area 360m2 | 11 |  |  |
| 36 | Fire emergency light |  |  | 60 |  |  |
| 37 | Rechargeable emergency light |  |  | 30 |  |  |
|  |  | | |  |  |  |
| Medical equipment | | | | | | |
| 1 | normal beds With dining table | L\*W\*H 2000\*900X500mm | | 240 |  |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 2 | Surgical bed |  | 2010x500mm | 1 |  |  |
| 3 | Ultraviolet lightisinfection Cabinet |  | 200L | 23 |  |  |
| 4 | Disinfection Cabinet |  | 200L | 23 |  |  |
| 5 | Infusion stand |  |  | 150 |  |  |



|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 6 | ICU bed |  |  | 2 |  |  |
| 7 | Surgical lights |  | LED 5light | 25 |  |  |
| 8 | Doppler ultrasonography |  |  | 10 |  |  |
| 9 | General Ward Monitor |  |  | 100 |  |  |



|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 10 | ICU Monitors |  |  | 2 |  |  |
| 11 | 12 ICU 12-channel ECG machine |  |  | 100 |  |  |
| 12 | 3 |  |  | 100 |  |  |
| 13 | Vertical towers |  |  | 2 |  |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 14 | Body freezers |  | 2480\*810\*1280mm | 5 |  |  |
| 15 | refrigerator |  | 90\*75\*186mm 300 | 12 |  |  |
| 16 | 3 doors large capacity hospital medical blood bank refrigerator |  | 180X75X1860mm 1380升 | 2 |  |  |
| 17 | ventilator |  |  | 20 |  |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 18 |  |  |  | 10 |  |  |
| 19 | Anaesthesia machines |  |  | 5 |  |  |
| 20 | Stretcher carriage |  |  | 10 |  |  |
| 21 | Wheelchair |  |  | 30 |  |  |
| 22 | Foot-operated aspirator |  |  | 18 |  |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 23 | Respirator |  |  | 120 |  |  |
|  | | | | | | |
|  | | | | | | |
|  | | | | | | |
|  | | | | | | |