THE FOLLOWING HFO FIRED POWER PLANT IS AVAILABLE FOR SALE WITH IMMEDIATE DELIVERY:

1 NO. - 37 MW HFO Fired Power Plant Comprising Of 3 Nos. 12.35 MW Each, MAN B&W HFO Generator Sets Having The Following Technical Specifications :

TECHNICAL  DETAILS

| SR. NO. | SPECIFICATIONS | ENGINE 1 |  | ENGINE 2 |  | ENGINE 3 |
| --- | --- | --- | --- | --- | --- | --- |
| ENGINE DETAILS: |  |  |  |  |  |  |
| 1 | MAKE | MAN B&W DIESEL AUGSBERG, GERMANY. |  |  |  |  |
| 2 | CAPACITY | 12350 kW | 12350 kW |  | 12350 kW |  |
| 3 | YEAR OF MAKE | 1999 | 1999 |  | 1999 |  |
| 4 | SPEED | 500 RPM | 500 RPM |  | 500 RPM |  |
| 5 | TYPE | 12V48/60 | 12V48/60 |  | 12V48/60 |  |
| 6 | No. OF CYLINDER | 12 | 12 |  | 12 |  |
| 7 | CYLINDER BORE DIA | 480 MM | 480 MM |  | 480 MM |  |
| 8 | CYLINDER STROKE LENGTH | 60 | 60 |  | 60 |  |
| 9 | OPERATING FUEL | HFO | HFO |  | HFO |  |
| 10 | HFO CONSUMPTION | 225 GRAMS/ kWH | 225 GRAMS/ kWH |  | 225 GRAMS/ kWH |  |
| 11 | LUBE OIL CONSUMPION | 0.7 Grams/kWH | 0.7 Grams/kWH |  | 0.7 Grams/kWH |  |
| ALTERNATOR DETAILS: |  |  |  |  |  |  |
| 1 | MAKE | SEIMENS |  |  |  |  |
| 2 | TYPE | IDK 5143-3BE06-Z | IDK 5143-3BE06-Z |  | IDK 5143-3BE06-Z |  |
| 3 | YEAR OF MAKE | 1998 | 1998 |  | 1998 |  |
| 4 | CAPACITY | 15340 KVA | 15340 KVA |  | 15340 KVA |  |
| 5 | VOLTAGE | 11000 V | 11000 V |  | 11000 V |  |
| 6 | AMPS | 805 A | 805 A |  | 805 A |  |
| 7 | SPEED | 500 RPM | 500 RPM |  | 500 RPM |  |
| 8 | DUTY TYPE | S1 | S1 |  | S1 |  |
| 9 | P.F. | 0.8 | 0.8 |  | 0.8 |  |
| 10 | INSULATION CLASS | F | F |  | F |  |
| 12 | ENCLOSURE | IP 21 | IP 21 |  | IP 21 |  |
| 13 | COOLING | IC 01 | IC 01 |  | IC 01 |  |
| 14 | EXCITATION – V | 73V | 73V |  | 73V |  |
| 15 | EXCITATION – A | 8.5A | 8.5A |  | 8.5A |  |
| OPERATING HISTORY: |  |  |  |  |  |  |
| 1 | ENGINE RUNNING HRS. | 35432 | 35914 |  | 35222 |  |
| 2 | HOURS AT WHICH LAST OVERHAUL IS DONE | 27150 | 27150 |  | 27150 |  |
| 3 | NO. OF HRS RUN AFTER LAST OVERHAUL | 8282 | 8764 |  | 8072 |  |

TECHNICAL DATA & SCOPE :

| SL | ENGINES AND PUMPS DETAILS |  | MOTORS DETAILS | SUPPLIER BY | QUANTITY |
| --- | --- | --- | --- | --- | --- |
| 1 | ENGINES |  | ALTERNATORS |  |  |
|  | Make; MAN B&W DIESEL AUGSBURG, GERMANY. Type.12V48/60 Power.12350Kw Pme.22.7 Rpm.500 Year.1999 |  | MAKE.SIEMENS Type.1DK 5143-3BE 06-Z-1998 3NGEN,No.D98 603 015 03 Volts.11000, Amps.805 KVA.15340, Duty Type.S1 Power factor.0.8 Rpm.500 Exict Self.73Volts, Amps.8.5 Th. CL.F | Germany | 3Nos |
| 2 | LUBE OIL PUMP |  | MOTOR |  |  |
|  | Make; LEISTRITZ Flow.315 m3/hr Max.perssure.10 bar Type.LSNT-125/184 IF0GA-0 |  | Make; DUTCHI R C.E M.no.141481001 Type.DMI 515 S4 3Ph, 415Volts, 50Hz Amps.184, Rpm.1485, 110Kw | Germany | 3Nos |
| 3 | CYLINDER COOLING WATER PUMP |  | MOTOR |  |  |
|  | Make; Iron pump Flow.150m3/hr Type. QV 10/300 Head.44MWC |  | Make: CE M.No.4852903 Type.16BA-0223-4AA61-Z 225M A. Synchronic motor, 3Ph, 415v, 50Hz, 78.5Amps, 1475rpm 45/60,Kw/Hp | Germany | 3Nos |
| 4 | CHARGE AIR COOLING WATER PUMP |  | MOTOR |  |  |
|  | MAKE.IRON PUMP TYPE.CNLB 150-150/315, PUMP NO.CNL 2948/1, Capacity:170M3/hr Head:.26 Mts Rpm.1470 KW: 17 |  | Make; C.E M.No.9205196,Type.VG1 801 L04 A. Synchronic motor, 3Ph, 415v 50Hz. 39Amps, 1460rpm 22Kw | Germany | 3Nos |
| 5 | NOZZLE COOLING WATER MODULE |  | MOTOR |  |  |
|  | MAKE.GRUNDFOS. TYPE.CH 8-50A –CVBE MODEL.B4N 508025 P 29908 U 3X220-240/380/415V KW: 1.7,Capacity.8 M3/HR Head.32M |  | Type.CH-8-50A-A-CVBE Model.B4N 508025 P 29908 V. 3x220-240/380-415v I1/1;5.8/3.4A, 50Hz | Germany | 3Nos |
| 6 | LUBE OIL COOLERS |  | MOTOR |  |  |  |
|  | Make; ALFA LAVEL Type.M15-MFM8 Manufacture No.30102-38617 Year.1999, Volume.602.5 Lts Test Pressure.15 bar Max Working pressure.10 bar Max working Temp. 100/c Area –A .1077 mm No of Plats.242 Gasket/plate Specification- 316/0.5/NIT/CLIP-ON |  | Motor not used | Germany | 3Nos |
| 7 | HT WATER COOLER |  | MOTOR |  |  |
|  | Make; ALFA LAVEL Type.M15-MFM8 Manufacture No.30102-38620 Year.1999, Volume.142.5 Lts Test Pressure.7.5 bar Max Working pressure.5.0 bar Max working Temp. 100/c Area –A .258 mm No of Plats.58 Gasket/plate Specification- 316/0.5/NIT/CLIP-ON |  | Motor not used | Germany | 3Nos |
| 8 | LT WATER COOLER |  | MOTOR |  |  |
|  | Make; ALFA LAVEL Type.M10-BFM Manufacture No.3 Year.1999, Volume.74.6 Lts Test Pressure.7.5 bar Max Working pressure.5.0 bar Max working Temp. 100/c Area –A .348 mm No of Plats.114 Gasket/plate Specification- 316/0.5/NIT/CLIP-ON |  | Motor not used | Germany | 3Nos |
| 9 | FO BOOSTER MODUL PUMP &VISCOSITY PUMP |  | MOTOR |  |  |
|  | Make: LEISTRZ Machine No.8770002 Type.L3NG-45/17 A POU1-Z / Make. SCHERZINGER Type.EVM-2 FAB No.994373NUTZWHAL/LTR-1 Max. Pres. 16 bar Max Temp. 200/c |  | 1.Make:ROTOR-C,E M.No.9052173 A. Synchronic motor.4AP 901-4. Type.M310 TROP.C 411. 3Ph, 240/415v. 50Hz, 1420rpm, 6.3/3.6A, 1.5Kw 2. Make: EG 7150-1 AY-RL. M. No. 06/98-53834053, 230v, 50/60Hz, 0.45A, 34Watts, 1300/1400rpm | Germany | 3Nos |
| 10 | STARTING AIR COMPRESSOR |  | MOTOR |  |  |
|  | MAKE :INGERSOLL RAND SIZE.5.5 &3&1-5/8X4 MODEL NO.15T2 |  | Make: SIEMENS M.No.N8/405705, Frame.160m 3Ph, 50Hz ,415v, 21Amps 1445rpm, 11Kw Delta. connection. | India | 3Nos |
| 11 | LUBE OIL SEPARATOR |  | MOTOR |  |  |
|  | Make: ALFA LAVEL Type.LOPX709SED34, Product.no.881243-02.03 |  | Make :ABB, M.No.993052 3Ph, 50Hz, 415v, 21.5Amps, 1140rpm, 11 KW | Germany | 3Nos |
| 12 | LUBE OIL FEED PUMP |  | MOTOR |  |  |
|  | TYPE.ACP038 N1 NVBP Sr.NO.415083,479095,479023 ALFA LAVAL-1762164-01 IMO AB |  | Make: CE, M.NO: 7024732 Type.14A24A0901, 3Ph, 50Hz, 415v, 3.2 Amps, 1110rpm, 1.3 KW | Germany | 3Nos |
| 13 | TURNING GEAR MOTOR |  | MOTOR |  |  |
|  | MAKE.ABGA112 MB-04M SR.NO.2159784 RPM.1430 |  | Make: LOHER Type.ABGA-112MB-04M, 50Hz, 415v, 8.6 Amps, 1430rpm, 4.0 KW 3Ph, | Germany | 3Nos |
| 14 | ALTERNATOR BEARING OIL PUMP |  | MOTOR |  |  |
|  | MAKE.LINM-PUMPEN TYPE.FLM310 15.99 Q.7.4I/M IN RPM.1450 |  | Make: SIEMENS Type.EN60034 1LA 7073-4AA10 32142 6001, 3Ph, 50Hz, 230/ 415v,1.78/1.03 Amps, 1400rpm,0.37Kw | Germany | 3Nos |
| 15 | CYLINDER LUBRICATION PUMP |  | MOTOR |  |  |
|  |  |  | Make: CE-VEM MOTORS GMBH, M.NO: 159167872H,IMV18090 Type. K2IR71C8-4RWE/3315F, I,3Ph,415V,50Hz, 0.090mps,1420rpm, 0.15KW | Germany | 6Nos |
| 16 | VALVE SEAT LUBRICATION PUMP |  | MOTOR |  |  |
|  |  |  | Make: CE , TYPE&M.NO :DOMA63S*4-SI83-1,DT01/99 3Ph,380/415V,50Hz, 0.69Amps,1500rpm, 0.18KW | Germany | 6Nos |
| 17 | 11KV GEN- CIRCUIT BREAKER |  | MOTOR |  |  |
|  | MAKE: Siemens ,DESIGN CODE: 1G TYPE:3AH 116-2, MOY:1999 NO.S :3AH/00006676, IR:1250A, UR:12KV 50/60 HZ, TK:35 ISE:40.0KA M:125KG UP : 28.0KV Rated operated security 0-3min-co-3min-co |  | Motor not used | Germany | 3Nos |
| 18 | VENTILATION FAN |  | MOTOR |  |  |
|  |  |  | Make: ABB, Type.HX180ML B6 Squirrel cage IM , 3Ph,50Hz, 415v, 29.0Amps, 950rpm, 15/20 KW/Hp delta Connection.IP-55 Insulation class ’F’ A.T 40°c N89%, DUTY S1 | INDIA | 6Nos |
| 19 |  | SIEMENS AUXILLARY PENNEL | Motor not used | Germany | 3Nos |
| 20 |  | SIEMENS PLC OPERATING PENNEL | Motor not used | Germany | 3Nos |
| 21 |  | SIDUR 2000 EXICTATION UNIT | Motor not used | Germany | 3Nos |
| 22 |  | OIL BATH ROTARY FILTER | MOTOR | Germany |  |
|  |  | Make: Locker filtration Type. Auto flow. Model .no.9-50 em, Sump capacity.165 lts& 205 lts | Make. PARVALUX Volts.240,Amps.0.76 Hz.50,Watt.100 Rpm.400 | England | 3Nos |
| 23 |  | OIL MIX DETECTOR | Motor not used | Germany | 3Nos |
| 24 |  | SFLASH OIL MODULE | Motor not used | Germany | 3Nos |
| 25 |  | 15kL LUBE OIL SERVICE TANK |  | Germany | 3Nos |
| 26 |  | HT WATER EXPANTION TANK |  | Germany | 3Nos |
| 27 |  | LT WATER EXPANTION TANK |  | Germany | 3Nos |
| 28 |  | HFO LEAK OIL TANK PUMP | MOTOR |  | 1No |
| 29 |  | LUBE LEAK OIL TANK PUMP | MOTOR |  | 1No |
| 30 |  | LUBE OIL SLUDGE TANK | CAPACITY 5KL |  | 1No |
| 31 |  | CONDENSATE WATER TANK | CAPACITY 2KL |  | 1No |
| 32 |  | PRE-WATER HEATER TANK |  |  | 1No |
| 33 |  | AIR BOTTEL | CAPACITY 30 KG/CM2 |  | 3No |
| 34 |  | PRE-WATER HEATER PUMP | MOTOR |  | 1No |
| 35 |  | CONDENSATE WATER TANK | 2KL |  | 1No |
| 36 |  | CONDENSATE WATER TANK | 2KL |  | 1No |
| 37 |  | WMI EOT Crane 10 ton |  |  | 01No |
| 38 |  | HFO RING MAIN PUMP | MOTOR |  |  |
|  |  | Make: KRAL Type: KV450-2A1A NRD-22515 Capacity: 10m3/hr , Rpm: 1760 | Make: AEG Type: AM160MZA4 KW: 22.5 , Amps: 12.9 Volta:415 , Hz:50 Rpm: 1760 | Germany | 2Nos |
| 39 |  | DIESEL RING MAIN PUMP | MOTOR |  |  |
|  |  | Make: KRAL Type: KV450-2A1A NRD-22515 Capacity: 10m3/hr , Rpm: 1760 | Make: AEG Type: AM160MZA4 KW: 22.5 , Amps: 12.9 Volta:415 , Hz:50 Rpm: 1760 | Germany | 2Nos |
| 40 |  | HFO SEPARATOR FEED PUMP | MOTOR |  |  |
|  |  | Make: IMBO SCREW PUMP Type: DESIGNATION ACP-038N1 NVBP ALFALAVAL- | Make: ABB Type: MZAA100LA M. No. 7024779 KW: 2.2 , Amps: 4 Volta:415 , Hz:50 Rpm: 1430 | India | 2Nos |
| 41 |  | HFO SEPARATOR | MOTOR |  |  |
|  |  | Make: ALFALAVAL Type:FOPX609 TFD24 Rpm: 1500 | Make: ABB Type: M2AA 160 M-4 KW: 11.5 , Amps: 21.5 Volta:415 , Hz:50 Rpm: 1440 | India | 2Nos |

PHOTOS :