# 2 Unit Perkins P1250P3

| No | Manufacturer | Serial No. | Year of Manufacturer | Running Hours | HZ | Rated Voltage | KVA | KW |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | FG Wilson (Engineering) LTD | GWRPES6AMAP02362 | 2012 | About 2000 Hour | 50 | 400 | 1250 | 1000 |
| 2 | FG Wilson (Engineering) LTD | FGWRPES6AMAP02362 | 2012 | 1605 | 50 | 400 | 1250 | 1000 |

Two Perkins diesel engines available — one in a Container and one open type.

We can also perform a load bank test on both engines before they are shipped to ensure performance and reliability.

Price Quotation :

# ENGINE No. 1 Containerized

Price/Unit USD $180.000 (one hundred eighty thousand US Dollars)

'FG Wilson rFnr,ille Mgj !Ill .

0Jd Gierl3f111 !><<d.Urn•.:"O.Anln<>tBU  :H •

llnr1h em 1   land, U•iled Kt	olli .

l 1:   44 (8) 28 2a251000

"'''l'ot.F ;

·" tit (01 2 {826111)

--:---	sn;u--:--·' !lfl:cor.n	.

ENGINE No. 2 Open

Price Quotation :

Price/Unit USD $170.000 (one hundred seventy thousand Us Dollars)

neer

Old Glenarm huijd  1ame	BT

Nurthem Iclan11 Un1tea I(

1J:· 4 (OJ 28 282&1000

Fax   +44{0128 8261H1

- wwwJGV 'json com

FG Wilson (Engmeenng) Ltd .

P rroP3

f GWR?ES6AMAP023,62