## Equipment List
No. | Equipment / Component Description | Qty. | Remarks / Technical Notes | Package
1 | Turbine Base | 1 |  | BOX1
2 | Gas Turbine Main Engine | 1 | Compressor: removed on 4 Jan 2018; operating time 27,817 h. Combustion system and hot-section parts: removed in Dec 2025; operating time 38,224 h. Power turbine (PT): removed on 5 Oct 2019; operating time 38,880 h. | BOX2(in BOX1)
3 | Gas Turbine Loose Parts | 1 |  | BOX4(inBOX170)
4 | Generator Assembly | 1 |  | BOX9
5 | Generator Heat Exchanger | 1 |  | BOX10
6 | Generator Foundation Loose Parts | 1 |  | BOX12
7 | Generator Lubricating Oil Tank Assembly | 1 |  | BOX21
8 | Generator Lubricating Oil Tank Loose Parts | 1 |  | BOX22( IN BOX 170)
9 | Generator Coastdown Lubrication Assembly (Brush Type) | 1 |  | BOX24
10 | Exhaust Fan Motor Assembly (with Damper) | 1 |  | BOX33
11 | Exhaust Fan Motor Assembly (with Damper) | 1 |  | BOX34
12 | Exhaust Expansion Joint Assembly (with Damper) | 1 |  | BOX39
13 | Exhaust Expansion Joint Assembly (with Damper) | 1 |  | BOX40
14 | Exhaust Silencer Stack Cap Assembly | 1 |  | BOX47
15 | Exhaust Silencer Stack Cap Assembly | 1 |  | BOX48
16 | Foreign Object Protection Screen and Loose Parts | 1 |  | BOX49
17 | CO2 Cylinder Rack Assembly (with Sunshade) | 1 |  | BOX52
18 | CO2 Cylinders | 1 |  | BOX53
19 | Turbine Control Panel Assembly | 1 |  | BOX57
20 | Human-Machine Interface Computer (Local) | 1 |  | BOX58
21 | Human-Machine Interface Computer (Remote) | 1 |  | BOX59
22 | Line-side Switchgear | 1 |  | BOX61
23 | Neutral Grounding Switchgear | 1 |  | BOX62
24 | Gasket Kit (Packed) | 1 |  | BOX63( IN BOX 170)
25 | Fastener Kit (Packed) | 1 |  | BOX64( IN BOX 170)
26 | Installation Loose Parts | 1 |  | BOX65( IN BOX 170)
27 | Coupling Assembly (Packed) | 1 |  | BOX66( IN BOX 170)
28 | Coupling Guard Assembly | 1 |  | BOX67( IN BOX 170)
29 | Water Injection Skid Assembly | 1 |  | BOX68
30 | Liquid Fuel Skid Assembly | 1 |  | BOX71
31 | Electrical Loose Parts | 1 |  | BOX72( IN BOX 170)
32 | Mechanical Loose Parts | 1 |  | BOX73( IN BOX 170)
33 | Auxiliary Skid Assembly | 1 |  | BOX74
34 | Auxiliary Skid Connection Hose (Right-side Enclosure) | 1 |  | BOX82
35 | Auxiliary Skid Connection Piping (Right-side Enclosure) | 1 |  | BOX86
36 | Paint | 1 |  | BOX88
37 | Inlet Plenum | 1 |  | BOX90
38 | Inlet Plenum Expansion Joint Assembly | 1 |  | BOX93( IN BOX 170)
39 | 24 VDC Battery Rack and Charger | 1 |  | BOX99
40 | 24 VDC Batteries | 1 |  | BOX100
41 | Turbine Enclosure Instrument Panel Cover | 1 |  | BOX105
42 | Maintenance Kit 123E8713L000 | 1 |  | BOX113( IN BOX 170)
43 | Maintenance Kit 123E8715L000 | 1 |  | BOX114( IN BOX 170)
44 | Maintenance Kit 123E8716L0006 | 1 |  | BOX115( IN BOX 170)
45 | Syngas Skid | 1 |  | BOX116
46 | M.T.T.B Control Cabinet | 1 |  | BOX117
47 | Insulation Arrangement (Inlet Plenum and Inlet Silencer) | 1 |  | BOX118
48 | Brush Acoustic Panel (Left Side) | 1 |  | BOX120
49 | Brush Acoustic Panel (Right Side) | 1 |  | BOX121
50 | Brush Panel Assembly Loose Parts | 1 |  | BOX122(IN BX 120)
51 | Managed Ethernet Switch | 1 |  | BOX124( IN BX 170)
52 | AC/DC Power Supply | 1 |  | BOX126(IN BX 170)
53 | Ethernet Cable | 1 |  | BOX129(IN BX 170)
54 | Auxiliary Skid Fire Extinguisher | 1 |  | BOX135
55 | Interconnection Loose Parts | 1 |  | BOX136
56 | Exhaust Fan Room | 1 |  | BOX147
57 | Heat Tracing Details, Enclosure Assembly, Remote Grease Fittings and Top Engine Removal Parts | 1 |  | BOX148
58 | Insulation Blankets and Medium-BTU Main Engine Heat Tracing Details (Right-side Auxiliary Skid Connection) | 1 |  | BOX149
59 | Insulation Blankets and Generator Lube Oil Heat Tracing Details (Brush 193) | 1 |  | BOX150
60 | Fire Protection System Control Panel | 1 |  | BOX151
61 | Manifold Supports | 1 |  | BOX164
62 | 20-foot Container | 1 |  | BOX170
63 | Filter Elements | 1 |  | BOX201( IN BOX 201)
64 | Filter Elements | 1 |  | BOX202( IN BOX 201)
65 | Filter Elements | 1 |  | BOX203( IN BOX 201)
66 | Filter Elements | 1 |  | BOX204( IN BOX 201)
67 | Filter Elements | 1 |  | BOX205( IN BOX 201)
68 | Filter Elements | 1 |  | BOX206( IN BOX 201)
69 | Filter Elements | 1 |  | BOX207
70 | Filter Elements | 1 |  | BOX208( IN BOX 207)
71 | Filter Elements | 1 |  | BOX209( IN BOX 207)
72 | Filter Elements | 1 |  | BOX210( IN BOX 207)
73 | Filter Elements | 1 |  | BOX211( IN BOX 207)
74 | Filter Elements | 1 |  | BOX212( IN BOX 207)
75 | Filter Elements | 1 |  | BOX213
76 | Filter Elements | 1 |  | BOX214( IN BOX 213)
77 | Filter Elements | 1 |  | BOX215( IN BOX 213)
78 | Filter Elements | 1 |  | BOX216( IN BOX 213)
79 | Filter Elements | 1 |  | BOX217( IN BOX 213)
80 | Filter Elements | 1 |  | BOX218
81 | Filter Elements | 1 |  | BOX219( IN BOX 218)
82 | Filter Elements | 1 |  | BOX220( IN BOX 218)
83 | Filter Elements | 1 |  | BOX221( IN BOX 218)
84 | Upper Rain Hood | 1 |  | BOX224
85 | Lower Rain Hood | 1 |  | BOX225
86 | Lower Rain Hood | 1 |  | BOX226
87 | Maintenance Inlet Plenum (Left-side Unit) | 1 |  | BOX227
88 | Maintenance Inlet Plenum (Right-side Unit) | 1 |  | BOX228
89 | Filter House (Left-side Unit) | 1 |  | BOX229
90 | Filter House (Right-side Unit) | 1 |  | BOX230
91 | Coil Casing Shop Preassembly (Left-side Unit) | 1 |  | BOX231
92 | Coil Casing Shop Preassembly (Right-side Unit) | 1 |  | BOX232
93 | Air Dust Collection Trough | 1 |  | BOX233
94 | Inlet Duct Transition Section (Left-side Unit) | 1 |  | BOX234
95 | Inlet Duct Transition Section (Right-side Unit) | 1 |  | BOX235
96 | Astrocel Filter House (Left-side Unit) | 1 |  | BOX236
97 | Astrocel Filter House (Right-side Unit) | 1 |  | BOX237
98 | Central Inlet Plenum | 1 |  | BOX238
99 | Flexible Connections, Lined Transition Section and Exhaust Ducting | 1 |  | BOX239
100 | Inlet Silencer | 1 |  | BOX240
101 | Left-side Coil Casing Main Header Piping | 1 |  | BOX241
102 | Maintenance Ladder and Support Structure | 1 |  | BOX242
103 | Platforms and Handrails | 1 |  | BOX243
104 | Unit Fasteners | 1 |  | BOX244( IN BX 170)
105 | Air Filter Loose Parts | 1 |  | BOX245
106 | Air Filter Loose Parts | 1 |  | BOX246( IN BX 245)
107 | Air Filter Loose Parts | 1 |  | BOX247
108 | Air Filter Loose Parts | 1 |  | BOX248( IN BX 247)
109 | Air Filter Loose Parts | 1 |  | BOX249
110 | Air Filter Loose Parts | 1 |  | BOX250( IN BX 249)
111 | Anchor Bolts | 1 |  | BOX335
112 | Anchor Bolt Sleeves | 1 |  | BOX336
113 | Adhesives / Lubricants | 1 |  | BOX346
114 | Pea Gravel (Fine Aggregate) | 1 |  | BOX347
115 | Grout Trough Formwork | 1 |  | BOX348
116 | Non-shrink Grout | 1 |  | BOX349
117 | Current Transformer | 1 |  | BOX350