## cost
NEW OFFERINGS
| DESCRIPTION | LOCATION | CONDITION
ITEM 1 | Two (2) GE TM 2500+ generation 8 gas turbines, 35 MW, 50 or 60 Hz, Dual fuel, Warranty | United States | New
ITEM 2 | Two (2) Pratt Mobilpac gas turbines, 30 MW, 50/60 Hz, dual fuel, full warranty, New units | United States | New
ITEM 3 | Two (2) GE TM 2500, 27 MW each, Model Gen 6, dual fuel, 50 or 60 HZ, Rebuilt, 2010 year | United States | Rebuilt
ITEM 4 | Siemens SGT6 - 5000F gas turbine with Alstom Steam Turbine, 60 Hz, natural gas fuel, 360 MW, new | United States | New
ITEM 5 | Two (2) Siemens SGT A45 gas turbines, 50 or 60 Hz, 45 MW, dual fuel, Trailer mounted | United States | New
ITEM 6 | Sixteen (16) Kawasaki M1T 23A gas turbines, 3.2 MW each, 60 hz, 6600 volt, natural gas, 57 hours | Asia | Used
ITEM 7 | Three (3) Frame 9171 E gas turbines, 132 MW, 50 Hz, Dual fuel, full warranty | Europe | New
ITEM 8 | Two (2) Siemens 294 MW, SGT5-4000F gas turbines,50 Hz, new, warranty | Europe | New
ITEM 9 | Frame 6 FA Combined Cycle plant. 255 MW. GE gas turbines and STG. 50 Hz, 11kV, natural gas, 2011 mfg. | Asia | New
ITEM 10 | Two (2) Siemens SGT A65 DLE gas turbines, 50 or 60 Hz, 64 MW, dual fuel, Stationary | United States | New
ITEM 11 | Two (2) GE TM 2500, 22 MW each, Model Gen 4, dual fuel, 50 or 60 HZ, Rebuilt, 2004 year | United States | Rebuilt
ITEM 12 | Four (4) Siemens SGT 400 gas turbines, 12.9 MW, 50 or 60 Hz, Dual fuel, Warranty, Stationary | Europe | New
ITEM 13 | GE LM 6000 PC gas turbine, 2008 Year,, 45 MW, 50 Hz, 11500 kV, never used | Europe | Unused
ITEM 13 A | GE Frame 9HA.02, 2015 Year, 373 MW, Dual fuel, 50 Hz, 11,000 volt, never used | Europe | New
ITEM 13 B | Three (3) Siemens SGT 400 gas turbines, 12.9 MW, 50 Hz, Natural gas, Stationary, 6000 hours | United States | Used
| DESCRIPTION | LOCATION | CONDITION
ITEM 14 | GE LM 6000 PD Combined Cycle plant, 120 MW, 50 Hz, 11,000 Volt, 2010 Manufacture, 18,000 hours, natural gas | Europe | Used
ITEM 15 | Two (2) LM 6000 PG Sprint gas turbines, 50 Hz, 11 kV, Natural gas, 57 MW | Europe | New
ITEM 16 | Frame 7 FA, 225 MW, natural gas, 60 hz, 18000 volt, 2016 year with warranty | United States | New
| DESCRIPTION | LOCATION | CONDITION
ITEM 17 | GE LM 6000 Combined cycle power plant, 60 MW, 50 hz, 2009 year, 22,000 hours, natural gas | Asia | Used
ITEM 18 | GE Frame 6 FA, 81 MW, 50 hz, 11500 volt, 2011 year, Natural gas, test hours only | Asia | Unused
ITEM 19 | Rolls Royce Trent 60 Combined Cycle plant, 2016 year, 77 MW, Nooter Erikson HRSG, SST 300 STG, 50 Hz | Asia | New
ITEM 20 | GE LM 2500 + Combined Cycle power plant. 2 LM 2500 + gas turbines, 30 MW each, 20 MW Nuovo Pignone STG, 80 MW total, 50 Hz, 11 kV, Dual fuel, low hours since O/H | Europe | Used
ITEM 21 | Two (2) GE Frame 7 EA gas turbines, 85 MW, 60 Hz, Dual liquid fuel, Unused, 13.8 kV, 2008 year | United States | Unused
ITEM 22 | 1998 Siemens SGT 100, 4.9 MW, 50 Hz, 11,000 volt, dual fuel, 8600 hours, rebuild available with warranty | Europe | Used
ITEM 23 | Siemens Combined Cycle Power Plant, 3 SGT 800 gas turbine, 3 x Aalborg HRSG, 1 SST 900 Steam turbine, all auxiliaries, 50 Hz, Natural gas, 200 MW | Europe | Used
ITEM 24 | Three (3) Siemens SGT 400 gas turbines, 12.9 MW, 50 or 60 Hz, nautural gas, mobile units | Europe | Used
ITEM 25 | Two (2) SGT 300 gas turbines, 7.9 MW, 60 Hz, Dual fuel, 2014 year, Unused | United States | New
ITEM 26 | GE TM 2500, 30 MW each, Model Gen 7, dual fuel, 50 or 60 HZ, Rebuilt, 2010 year | United States | New
ITEM 27 | Two (2) Siemens (701 DU) gas turbines, 50 hz, 125 MW, dual fuel, with warranty, can operate on HFO | Europe | Rebuilt
ITEM 28 | Hitachi H - 25 gas turbine, 2011 year, 50 Hz, 11 kV, natural gas, 695 hours | Asia | Used
ITEM 29 | Siemens SGT A58 Gas Turbine, 50 or 60 Hz, 58 MW, dual fuel, Stationary | United States | New
COAL PLANTS/OTHER
| DESCRIPTION | LOCATION | CONDITION
ITEM 30 | 49 MW Siemens SST 400 Steam Turbine, 60 Hz, 13,800 Volt, never used, with warranty | United States | New
ITEM 31 | 36 MW Coal or Biomass plant, Sulzer boiler, Siemens and Kanis steam turbines, 50 hz, 1982 with substantial refurbishment | Europe | Used
ITEM 32 | 150 MW ABB Coal plant, 50 Hz, 15.75 kV, Two Fluidized Bed Boilers, ABB Steam Turbine, 2001, Complete | Asia | Used
ITEM 32A | 7.5 MW Shin Nippon steam turbine, 60 Hz, 6600 volt, 2008 year | Asia | New
ITEM 32B | 2.8 MW Triveni steam turbine, Thermax Boiler, 50 Hz, 3300 volt, 2012 year, 8000 hours | Asia | Used
ITEM 32 C | 12.4 MW Siemens Steam Turbine, 60 Hz, 13.8 kV, 2009 year, Unused | United States | New
ITEM 32 D | 1997 Siemens HNG 32/35 steam turbine, 20.8 MW, 60 Hz, 78,000 hours | Asia | Used
ITEM 32 E | 2 MW Shin Nippon Steam Turbine, 60 Hz, 6600 volt, 2018 year, never used | Asia | Unused
ITEM 32 F | 300 MW Alstom Steam Turbine, 60 Hz, 21kV, 2002 year, never used | United States | Unused
ITEM 32 G | Two (2) Shinko Japan Steam Turbines, 4 MW, 60 Hz, 6.6 kV, 2005 year, 38,000 hours | United States | Asia
ITEM 32 H | 7.9 MW Shin Nippon Condensing, Extraction Steam Turbine, 50 hz, 6600 V, Immediate availability, 47,000 hours | Asia | Used
ITEM 32 I | 2.6 Dresser Rand Steam Turbine, 2007 year, Unused, 50 Hz, 3300 volt | Asia | New
ITEM 32 J | 1987 Fuji Electric Condensing 9.4 MW STG with 1.9 MW Back pressure STG, 60 Hz, 13800 volt | United States | Unused
ITEM 33 | 19.7 MW GE Condensing Steam Turbine, 1992 year, 60 Hz, 13800 volt | Europe | Used
GAS AND DISTILLATE FUELED
| DESCRIPTION | LOCATION | CONDITION
ITEM 34 | Three (3) GE LM 6000 PC gas turbines, 1999 year, 45 MW, 50 Hz, liquid fuel, 33,000 hours, must buy all 3 | Asia | Used
ITEM 35 | Four (4) Frame 5 N, 20 MW, 60 Hz, natural gas, low hours | United States | Used
ITEM 36 | LM 2500 Marine Turbines, liquid fuel, 27,800 HP | Europe | Used
ITEM 37 | 2010 Kawasaki CHP plant, complete, 50 Hz, 11 kV, natural gas, 7.5 MW, 8000 hours | Asia | Used
ITEM 38 | GE LM 6000 Combined cycle power plant, 63 MW, 50 hz, 2011 year, 8,500 hours, natural gas | Asia | Used
ITEM 39 | Four (4) Frame 6 Model 6541 gas turbines, 50 hz, Steam cycle equipment available, Dual fuel, 135,000 hours | Europe | Used
ITEM 39A | Frame 6 gas turbine, with auxilaries, model 6541, 60 hz, 13,800 volt, natural gas, only 9000 hours | United States | Used
ITEM 39 B | Frame 9 gas turbine, Model PG9171, 123 MW, natural gas, 50 Hz, 57,000 hours, auxiliaries | Asia | Used
ITEM 39 C | Toshiba PU 5000 gas turbine, 4 MW, 2018 year, 50 Hz, 6600 volt, natural gas, Unused | Asia | New
ITEM 39 D | 2000 LM 2500 gas turbine, 25 MW, 50 Hz, natural gas, 2500 hours | Europe | Used
ITEM 40 | Three (3) Kawasaki PUC 15 MIA - 13A gas turbines, 1996 year, 1.5 MW, 50 Hz, 6600 Volt, Natural gas | Asia | Used
ITEM 41 | Three (3) Kawasaki gas turbines, 4.3 MW, 50 HZ, 11000 Volt, natural gas, 33,000 hours | Asia | Used
ITEM 42 | 1988 Frame 6 Combined Cycle plant, 108 MW, 50 Hz, 11000 volt, natural gas, 68,000 hours, complete | Europe | Used
ITEM 43 | Several Cummins KTA50 diesel generators, skid mounted, 60 hz, 2008 year, 1096 kW | United States | New
ITEM 44 | CAT 3516 B diesel genset, 2000 kw, 60 hz, skid mounted, 300 hours, 2004, 4160 volt | United States | Used
ITEM 45 | LM 6000 PD Combined cycle plant, 2001 year, 75,000 hours, 50 Hz, 11,500 voltage, natural gas | Europe | Used
ITEM 46 | Three (3) MAN THM1304-12 gas turbines, 12 MW, 50 Hz, 6600 volt, 2013 year, dual fuel | Asia | New
ITEM 47 | Siemens SGT 300 Turbine Core. Rebuilt. Generator end available | United States | Rebuilt
ITEM 48 | Frame 6, Model 6561B, 42 MW, 50 Hz, 11 kV, Natural gas, 44,000 hours | Asia | Used
ITEM 49 | GE LM 6000 PC Combined Cycle plant, 120 MW, 50 Hz, 11,000 Volt, 2007 Manufacture, 30,000 hours, natural gas | Europe | Used