## Glossary
ABBREVIATIONS | GLOSSARY
AFT | Advanced Fire-fighting Technology
BIVAC | Bureau Veritas Inspection, Valuation, Assessment and Control
BTU | British Thermal Unit
CB | Circuit Breaker
DB | Distribution Board
DCP | Dry Chemical Powder
HDPE | High Density Polyehtylene
Hz | Hertz
ISO | International Standards Orgaisation
kW | Kilowatt
l | Litre
LLDPE | Linear low density polyethylene
m | Meter
MCB | Main Circuit Breaker
mm | Millimetre
OHS | Occupational Healt and Safety
PVC | Poly Vynil Chloride
RO | Reverse Osmosis
SABS | South African Bureau of Standards
SANS | South African National Standard
TV | Television
VA | Volt
VA | Volt Ampere

## Accommodation
Accommodation
Senior Management Accommodation with en-suite ablutions: 4 persons(2 persons per shelter) |  | Middle Management Accommodation: Male 8 persons(4 persons per shelter) |  | General Labour Accommodation: Male 32 persons(8 persons per shelter) |  | Dormitory Style Accommodation: Female (8 persons per shelter)
4.8 x 7.2 Warrior Soft Shelters complete with barrel covers with insulation, frames, windows with clear PVC, mosquito gauze, outer storm flap and soft floors. | 2 | 4.8 x 9.6 Warrior Soft Shelters complete with barrel covers with insulation, frames, windows with clear PVC, mosquito gauze, outer storm flap and soft floors. | 2 | 4.8 x 9.6 Warrior Soft Shelters complete with barrel covers with insulation, frames, windows with clear PVC, mosquito gauze, outer storm flap and soft floors. | 4 | 4.8 x 9.6 Warrior Soft Shelters complete with barrel covers with insulation, frames, windows with clear PVC, mosquito gauze, outer storm flap and soft floors. | 1
Distribution boards with outlets for -two (2) power harnesses with four (4) single walls sockets each -two (2) auxiliary outlets -2 x 1.2m vapour-proof lights -two (2) bulkhead outside lights -one (1) power harness for emergency lighting -Power harness 2 is extended for the lights in the second section | 2 | Distribution boards with outlets for - two (2) power harnesses with four (4) single walls sockets each -two (2) auxiliary outlets -2 x 1.2m vapour-proof lights -one (1) bulkhead outside lights | 2 | Distribution boards with outlets for . two (2) power harnesses with four (4) single walls sockets each .two (2) auxiliary outlets .2 x 1.2m vapour-proof lights .one (1) bulkhead outside lights | 4 | Distribution boards with outlets for . two (2) power harnesses with four (4) single walls sockets each .two (2) auxiliary outlets .2 x 1.2m vapour-proof lights .one (1) bulkhead outside lights | 1
Emergency lights for en-suite bathrooms | 2 | Emergency lights for the bathrooms only | 2 | Emergency lights for the bathrooms only | 4 | Emergency lights | 2
Brackets for emergency lights for en-suite bathrooms and one EXIT light not fitted on the DB | 4 | Brackets for emergency lights | 2 | Brackets for emergency lights | 4 | Brackets for emergency lights | 5
EXIT lights | 4 | EXIT lights (fitted onto the DB) | 2 | EXIT lights (fitted onto the DB) | 4 | EXIT lights (fitted onto the DB) | 2
EXIT light signs | 4 | EXIT light signs | 2 | EXIT light signs | 4 | EXIT light signs | 2
12,000 BTU split unit Air Conditioners with flexible piping -Cross frame for air conditioners -Stands for outside air conditioner split units (compressors) attached to floor frame to keep the unit off the ground | 4 4 4 | 24,000 BTU split unit Air Conditioners with flexible piping -Cross frame for air conditioners -Stands for outside air conditioner split units (compressors) attached to floor frame to keep the unit off the ground | 4 4 4 | 2 x 24,000 BTU split unit Air Conditioners with flexible piping .Cross frame for air conditioners .Stands for outside air conditioner split units (compressors) attached to floor frame to keep the unit off the ground | 8 8 8 | 24,000 BTU split unit Air Conditioners with flexible piping .Cross frame for air conditioners .Stands for outside air conditioner split units (compressors) attached to floor frame to keep the unit off the ground | 2 2 2
Lockable hard doors with frames | 8 | Lockable hard doors with frames | 4 | Lockable hard doors with frames | 8 | Lockable hard doors with frames | 3
Mosquito screen doors | 4 | Mosquito screen doors | 2 | Mosquito screen doors | 4 | Mosquito screen doors | 2
Divider with frame | 4 | Connection kit | 2 | Connection kit | 4 | Connection kit | 1
Hard floors with powder coated steel frames (300mm high with adjustable jacks), step (width of step to be 125% of door width) and PVC interlocking tiles (35㎡) | 4 | Hard floors with powder coated steel frames (300mm high with adjustable jacks), step (width of step to be 125% of door width) and PVC interlocking tiles (50㎡) | 2 | Hard floors with powder coated steel frames (300mm high with adjustable jacks), step (width of step to be 125% of door width) and PVC interlocking tiles (50㎡) | 4 | Hard floors with powder coated steel frames (300mm high with adjustable jacks), step (width of step to be 125% of door width) and PVC interlocking tiles (50㎡) | 1
Vestibule for entrance with hard raised floor consisting of powder coated steel frame, step and PVC interlocking tiles | 4 | Vestibule for entrance with hard raised floor consisting of powder coated steel frame, step (width of step to be 125% of door width) and PVC interlocking tiles | 2 | Vestibule for entrance with hard raised floor consisting of powder coated steel frame, step (width of step to be 125% of door width) and PVC interlocking tiles | 4 | Vestibule for entrance with hard raised floor consisting of powder coated steel frame, step (width of step to be 125% of door width) and PVC interlocking tiles | 2
Powder coated chequered plate for connection between vestibule and shelter | 4 | Powder coated chequered plate for connection between vestibule and shelter | 4 | Powder coated chequered plate for connection between vestibule and shelter | 8 | Powder coated chequered plate for connection between vestibule and shelter | 4
En-suite ablution facility consisting of a shower, toilet, hand basin, shower curtain, mirror, towel rails, soap dish and toilet roll holder | 2 | Smoke detectors 2 per unit included | 2 | Smoke detectors 2 per unit included | 4 | Smoke detectors 2 per unit included | 1
100l geyser with stand | 2 | Reinforced concrete blocks for the jacks | 38 | Reinforced concrete blocks for the jacks | 76 | Reinforced concrete blocks for the jacks | 23
Whirly bird with frame | 2
Fire extinguisher 4.5kg BSF complete with packaging for hazardous material as required by BIVAC | 2
Smoke detectors 2 per unit included | 4 | Furniture and Equipment (middle management, general labour and female staff)
Furniture and Linen: -Headboard and pedestal -Base and mattress -Bedside table lamp -Desk with 3 drwaer pedestal -Swivel chair -Wardrobe with hanging rails and shelves -Mini bin 5l -Duvet Cover (2 per person) -Pillow (2 per person) -Pillow case (2 per person) -Fitted sheet (2 per person) -Flat sheet (2 per person) -Towel hand (1 per person) -Towel bath (2 per person) -Blanket (1 per person) -Night frill (1 per bed) | 4 of each except the linen where 2 per person are supplied totalling 8 | Beds straight leg with tubular head and foot end - removable steel tubular head and foot end- bed size 915 x 1900 x 405mm, welded mesh 50 x 50 x 3,15mm -Mattress foam 100mm C40 density -Reading lamp -Desk with 3 drawer pedestal 1800 x 750mm -Swivel chair -Collapsible cupboard with hanging rails and shelves -Fire extinguishers 4.5 kg with packaging for hazardous material as required by BIVAC -Duvet Cover (2 per person) -Duvet inner (1 per person) -Pillow (2 per person) -Pillow case (2 per person) -Flat sheet (2 per person) -Towel hand (1 per person) -Towel bath (2 per person) -Blanket (1 per person) | 48 48 48 8 8 48 7 96 48 96 96 96 48 96 48
Reinforced concrete blocks for the jacks | 40

## Ablutions
Ablutions
Ablution unit: male |  | Ablution unit: female
4.8 x 9.6 Warrior Soft Shelters complete with barrel covers with insulation, frames, windows with clear PVC, mosquito gauze, outer storm flap and soft floors. | 3 | 4.8 x 4.8 Warrior Soft Shelters complete with barrel covers with insulation, frames, windows with clear PVC, mosquito gauze, outer storm flap and soft floors. | 1
Electrical Kit:Distribution boards with outlets for -2 x Neoprene geyser harnesses -2 x auxiliary outlets -2 x 1.2m vapour-proof lights -1 x bulkhead outside light | 3 | Electrical Kit:Distribution boards with outlets for -2 x Neoprene geyser harnesses -2 x auxiliary outlets -2 x 1.2m vapour-proof lights -1 x bulkhead outside light | 1
Hard floors with powder coated steel frames (300mm high with adjustable jacks), step (width of step to be 125% of door width) and PVC interlocking tiles (50㎡) | 3 | Hard floors with powder coated steel frames (300mm high with adjustable jacks), step (width of step to be 125% of door width) and PVC interlocking tiles (50㎡) | 1
Reinforced concrete blocks for jacks (15 per floor) | 45 | Reinforced concrete blocks for jacks (15 per floor) | 15
Ablutions with 4 x showers, 4 x toilets, 2 x 3 wash basins vanity units (mirrors, towel rails, soap holders) drainage harness and box, urinal panel, whirly bird with frame per unit | 3 | Ablutions with 2 x showers, 2 x toilets, 2 x 3 wash basins vanity units (mirrors, towel rails, soap holders) drainage harness and box, urinal panel, whirly bird with frame per unit | 1
Geyser 200l with stand | 6 | Geyser 200l with stand | 1
Fire extinguisher 4,5kg with paackaging for hazardous material as required by BIVAC | 3 | Fire extinguisher 4,5kg with paackaging for hazardous material as required by BIVAC | 1
Smoke detectors 3 included | 3 | Smoke detectors 3 included | 1

## Kitchen-Diner
Kitchen-Diner
Kitchen / Diner and Food Preparation Equipment and Appliances |  | Scullery / Wash Area and Equipment
7.9 x 13.7 x 4.5m Gladiator Soft Shelter complete with barrel covers with insulation, frame, windows with clear PVC, mosquito gauze, outer storm flap (seven on each side), end panels and soft floors | 1 | 4.8 x 4.8m Warrior Soft Shelter complete with barrel covers with insulation, frame, windows with clear PVC, mosquito gauze, outer storm flap (two on each side), end panel and soft floor | 1
Distribution boards (DBs) with outlets for -6 x power harnesses with four (4) single walls sockets each -1 x power harness for extraction canopy -2 x power harnesses for stoves -2 x power harnesses for electrical poles -2 x auxiliary outlets for pumps -6 x 1.2m vapour-proof lights -2 x bulkhead outside lights | 1 | Distribution board (DB) with outlets for -2 x power harnesses with four (4) single walls sockets each -1 x power harness for geyser -1 x power harnesses for emergency lights -2 x auxiliary outlets for pumps -2 x 1.2m vapour-proof lights -1 x bulkhead outside lights | 2 1 1 2 2 1
Electrical pole ducting for power distribution | 4 | Hard Floor
Emergency lights | 12 | Powder coated steel frames (300mm high with adjustable jacks), step (width of step to be 125% of door width) and PVC interlocking tiles (6㎡) | 1
Brackets for emergency lights | 12 | Reinforced concrete blocks for jacks (9 per floor) | 9
EXIT light | 3 | Lockable hard door with frame | 3
EXIT light sign | 3 | Mosquito screen door | 1
Air Conditioning |  | Entrance Vestibule
24,000 BTU split unit Air Conditioners with flexible piping -Stand for outside air conditioner split units (compressors) attached to floor frame to keep the unit off the ground | 4 4 | Hard raised floor powder coated steel frame (300mm high with adjustable jacks), step (width of step to be 125% of door width) and PVC interlocking tiles (6㎡) | 1
Doors and Frames |  | 2.1m x 2.4m vestibule with soft floor | 1
Double lockable hard doors with frames | 2 | Reinforced concrete blocks for jacks (4 per floor) | 4
Single mosquito screen door | 2 | Powder coated chequered plate for connection between vestibule and shelter (1400mm x 500mm) | 2
Lockable hard doors with frame | 2 | Equipment
Divider (end panel) |  | Geyser 200l with stand | 1
Extraction |  | F180 hood type dishwasher | 1
Extractor canopy | 1 | Stainless steel dump table complete with scrape hole and rubber bung 1700mm x 700mm x 900mm | 1
Stand for extractor canopy and fan | 1 | Stainless steel double bowl pot sink 2250mm x 650mm x 950mm | 2
Smoke detector (included) | 1 | Stainless steel mobile crockery rack 1130mm x 600mm x 1680mm | 3
Hard Floor |  | 4 tier stainless steel shelving 850mm x 500mm x 1900mm | 3
Powder coated steel frames (300mm high with adjustable jacks), step (width of step to be 125% of door width) and PVC interlocking tiles (110㎡) | 1 | 4 tier stainless steel shelving 1150mm x 500mm x 1900mm | 3
Reinforced concrete blocks for jacks (42 per floor) | 42 | Dish clearing trolley | 2
Entrance Vestibule | 7 | Black bin with lid 90l | 2
Vestibule for entrance with hard raised floor consisting of powder coated steel frame (300mm high with adjustable jacks), step (width of step to be 125% of door width) and PVC interlocking tiles (6㎡) | 2 | Fire extinguisher 4.5kg BSF complete with packaging for hazardous material as required by BIVAC | 1
Reinforced concrete blocks for jacks (4 per floor) | 8 | Smoke detector included | 1
Powder coated chequered plate for connection between vestibule and shelter (1400mm x 500mm) | 4
Health and Safety Equipment
First Aid Kit | 2
Bug zapper | 1
Rofo GT 700 fat trap | 1
Fire extinguisher 4.5kg BSF complete with packaging for hazardous material as required by BIVAC | 1
Fire blanket | 1
Food Preparation Equipment
Stainless steel table with shelf 1100mm | 2
Stainless steel table with shelf 2300mm | 2
Double bowl sink 1600mm x 650mm x 900mm | 2
Potato peeler 12kg - no timer | 1
Stainless steel dump table | 2
4 tier pot rack 1200mm | 1
Convection oven Prima Pro (grill and bake) | 1
Floor standing fryer | 1
RE3 electric solid plate stove with oven 1000mm x 830mm x 900mm | 1
Floor standing flat top griller | 1
Microwave oven 31l | 2
Shelving system 4 tier wire shelving 1510mm x 455mm x 1830mm | 2
Urn electrical 12l | 1
Urn electrical 30l | 1
Food Storage
Chest freezer 530l | 2
Upright beverage cooler 1140mm x 2020mm x 635mm | 1
Hygiene /Cleaning /Waste Disposal
Black bin 90l | 4
Kitchen smalls
Toaster / sandwich Panini Deluxe | 1
Large Chef Knife 300mm | 2
Carving knife 190mm | 2
Bread knife 200mm | 2
Tongs grill/ braai 400mm | 2
Tongs utility 400mm | 2
Multi/purpose bowl plastic utility buckets 20l | 2
Salad bowls medium | 5
Baking Trays / roasting dish 419mm x 285mm x 75mm | 4
Nylon chopping board 500mm x 380mm x 13mm | 4
Stainless steel colander 380mm | 2
Grater 6 sided | 2
Slotted egg lifter | 2
Solid serving spoon 330mm | 8
Perforated serving spoon 330mm | 8
Wooden spoon 330mm | 6
Wooden spoon 400mm | 6
Wooden spoon 500mm | 6
Heavy duty stainless steel mixing bowl 400mm | 2
Stainless steel heavy duty cooking pot 12l | 2
Stainless steel heavy duty cooking pot 20l | 2
Stainless steel heavy duty cooking pot 30l | 2
Aluminium frying pan 240mm non stick | 2
Aluminium frying pan 320mm non stick | 2
Ladle box 177ml | 3
Ladle box 225ml | 3
Industrial can opener | 1
Potato chipper complete with bridge | 1
Dining Hall Furniture
Tables 6' folding 1800mm x 900mm x 750mm | 9
Chair plastic stackable | 50
Server
Bain-marie, 5 division table model 1820mm x 700mm x 370mm | 1
Refrigerated polar top with stand 1140mm x 750mm x 100mm | 1
Electrical pole ducting for power distribution | 2
Inserts, stainless steel full 150mm deep | 10
Inserts, stainless steel full lids | 10
Tables, collapsible trestle heavy duty 1800mm x 770mm | 2
Neutral counter no doors 1850mm x 770mm | 1
Urn 16l | 1
Dinner plates 255mm | 50
Side plates 180mm | 50
Soup bowls 230mm | 50
Dessert / cereal bowls 182 mm | 50
Tea cup 236ml | 50
Tea saucer 145mm | 50
Coffee mug 354ml | 50
Table knives | 50
Table forks | 50
Soup spoons | 50
Dessert spoons | 50
Teaspoons | 50
Hi ball glasses 240ml | 50
Pluto glasses 225ml | 50
Water jugs 1.3l | 9
Waste paper basket 90l | 4

## Warehouse
Warehouse
Warehouse shelter and Equipment
4.8 x 9.6 Warrior Soft Shelters complete with barrel covers with insulation, frames, windows with clear PVC, mosquito gauze, outer storm flap and soft floors. | 1
Double lockable hard door with frame | 2
Double mosquito screen door | 1
Distribution boards with outlets for -two (2) power harnesses with four (4) single walls sockets each .two (2) auxiliary outlets .2 x 1.2m vapour-proof lights .two (2) bulkhead outside lights | 1 2 2 2 1
Air Conditioning
24,000 BTU split unit Air Conditioners with flexible piping -Cross frame for air conditioner -Stands for outside air conditioner split units (compressors) attached to floor frame to keep the unit off the ground | 2 1 2
Fire Protection
Fire extinguisher 4.5kg BSF complete with packaging for hazardous material as required by BIVAC | 1
Smoke detector included | 1
Hard floor
Hard floors with powder coated steel frames (300mm high with adjustable jacks), step (width of step to be 125% of door width) and PVC interlocking tiles (50㎡) | 1
Reinforced concrete blocks for jacks (15 per floor) | 15
Vestibule / Passage
2.1m x 2.4m soft floor | 1
Hard floors with powder coated steel frames (300mm high with adjustable jacks), step (width of step to be 125% of door width) and PVC interlocking tiles (6㎡) | 1
Reinforced concrete blocks for jacks (4 per floor) | 4
Powder coated chequered plate for connection between vestibule and shelter (1400mm x 500mm) | 2

## Medical Unit
Medical Unit
Medical Unit Shelter, Furniture and Equipment
4.8 x 9.6 Warrior Soft Shelters complete with barrel covers with insulation, frames, windows with clear PVC, mosquito gauze, outer storm flap and soft floors. | 1
Distribution boards with outlets for - 2 x power harnesses with four (4) single wall sockets -2 x auxiliary outlets -2 x 1.2m vapour-proof lights -2 x bulkhead outside lights -1 x extension for 2nd air conditioner -Power harness 2 is extended for the lights in the second section | 1
Air Conditioning
12,000 BTU split unit Air Conditioners with flexible piping -Cross frame for air conditioner -Stands for outside air conditioner split units (compressors) attached to floor frame to keep the unit off the ground | 2 2 2
Doors and Frames
Lockable hard doors with frames | 3
Mosquito screen doors | 1
Divider with fame | 1
Hard Floor
Hard floors with powder coated steel frames (300mm high with adjustable jacks), step (width of step to be 125% of door width) and PVC interlocking tiles (50㎡) | 1
Reinforced concrete blocks for jacks (15 per floor) | 15
Vestibule / Passage
2.1m x 2.4m soft floor | 1
Hard floors with powder coated steel frames (300mm high with adjustable jacks), step (width of step to be 125% of door width) and PVC interlocking tiles (6㎡) | 1
Reinforced concrete blocks for jacks (4 per floor) | 4
Powder coated chequered plate for connection between vestibule and shelter (1400mm x 500mm) | 2
En-suite Ablution
En-suite ablutionwith 1x shower, 1 x hand wash basin, shower curtain, mirror, towel rails, soap dish and toilet roll holder | 1
Whirly bird with frame for the en-suite ablution | 1
100l geyser with stand | 1
Hand wash basin (elbow operated) with in-line water heater and stand (for medical staff= | 1
Soap dispenser and bracket attached to the hand wash basin stand | 1
Paper towel dispenser and bracket attached to the hand wash basin stand | 1
Bin, waste pedal operated metal with plastic insert | 1
Fire Protection
Fire extinguisher 4.5kg BSF complete with packaging for hazardous material as required by BIVAC | 1
Smoke detector included | 1
Furniture and Equipment
Desk with 3 drawers | 1
Chair, office | 1
Bin, waste pedal operated metal with plastic insert | 1
Beds straight leg with tubular head and foot end - removable steel tubular head and foot end- bed size 915 x 1900 x 405mm, welded mesh 50 x 50 x 3,15mm | 2
Mattress foam 100mm C40 density | 2
Medical examination table on castors | 1
Cabinet, metal lockable 2 door with 4 adjustable shelves | 1
Drug cabinet untility trolley | 1
Drip stand | 1
Stretcher | 1
Linen Sets
Duvet Cover (2 per person) | 4
Duvet inner (1 per person) | 2
Flat sheet (2 per person) | 4
Pillow (2 per person) | 4
Pillow case (2 per person) | 4
Towel hand (1 per person) | 2
Towel bath (2 per person) | 4
Blanket (1 per person) | 2

## Recreation Unit
Recreation Unit
Recreation Unit Shelter, Furnishing and Equipment
7.9 x 13.7 x 4.5m Gladiator Soft Shelter complete with barrel covers with insulation, frame, windows with clear PVC, mosquito gauze, outer storm flap (seven on each side), end panels and soft floors | 1
Distribution boards (DBs) with outlets for -2 x power harnesses with four (4) single walls sockets each -2 x auxiliary outlets -6 x 1.2m vapour-proof lights -2 x bulkhead outside lights | 1
Emergency lights for en-suite bathrooms | 2
Brackets for emergency lights for en-suite bathrooms and one EXIT light not fitted on the DB | 4
EXIT lights | 4
Air Conditioning
24,000 BTU split unit Air Conditioners with flexible piping -Stand for outside air conditioner split units (compressors) attached to floor frame to keep the unit off the ground | 4 4
Doors and Frames
Lockable hard doors with frames | 2
Mosquito screen doors | 2
Hard Floor | 4
Hard floors with powder coated steel frames (300mm high with adjustable jacks), step (width of step to be 125% of door width) and PVC interlocking tiles (110㎡) | 1
Reinforced concrete blocks for jacks (42 per floor) | 42
Vestibule / Passage | 7
2.1m x 2.4m soft floor | 2
Hard floors with powder coated steel frames (300mm high with adjustable jacks), step (width of step to be 125% of door width) and PVC interlocking tiles (6㎡) | 2
Reinforced concrete blocks for jacks (4 per floor) | 8
Powder coated chequered plate for connection between vestibule and shelter (1400mm x 500mm) | 4
Fire Protection | 12
Fire extinguisher 4.5kg BSF complete with packaging for hazardous material as required by BIVAC | 2
Smoke detector included | 1
Recreation Equipment
Tables folding 1800 x 750 mm | 2
TV Cabinet | 2
74cm flat screen TV | 2
90cm satellite dish (client to purchase decoder in country) | 2
Pole for dish with concrete base | 2
Co-Ax cable (100m roll) | 1
Home theatre and DVD combo system | 2
Dartboard cabinet complete with set of darts | 2
Frame for tent/ shelter dartboard installation | 2
Extra dart sets | 4
Fridge 350l | 2
Chair plastic | 50
Waste paper basket | 4
Stationery cupboard | 2
Soccer ball | 4
Urn 16l | 2
Microwave 26 l | 4
Water cooler | 2

## Laundry
Laundry
Laundry Shelter, Appliances and Equipment
4.8 x 9.6m Warrior Soft Shelter complete with barrel covers with insulation, frame, windows with clear PVC, mosquito gauze, outer storm flap (four on each side), end panels and soft floors | 1
Distribution boards (DBs) with outlets for -2 x power harnesses with four (4) single walls sockets each -2 x auxiliary outlets -2 x 1.2m vapour-proof lights -1 x bulkhead outside light -Electrical pole ducting for power distribution | 1
Doors and Frames
Lockable hard doors with frame | 1
Mosquito screen door | 1
Extractor fan | 1
Hard Floor
Hard floors with powder coated steel frames (300mm high with adjustable jacks), step (width of step to be 125% of door width) and PVC interlocking tiles (50㎡) | 1
Reinforced concrete blocks for jacks (15 per floor) | 15
Vestibule / Passage
2.1m x 2.4m soft floor | 1
Hard floors with powder coated steel frames (300mm high with adjustable jacks), step (width of step to be 125% of door width) and PVC interlocking tiles (6㎡) | 1
Reinforced concrete blocks for jacks (4 per floor) | 4
Powder coated chequered plate for connection between vestibule and shelter (1400mm x 500mm) | 2
Fire Protection
Fire extinguisher 4.5kg BSF complete with packaging for hazardous material as required by BIVAC | 1
Smoke detector included | 1
Laundry and Ironing Equipment and Appliances
Washing machines 7.5 kg | 3
Tumble dryers 8.2 kg | 3
Ironing tables | 3
Irons | 3
Linen press | 1
Clothing racks | 2
Ironing trolley | 2
Laundry bags | 50

## Offices-General Use
Offices General Use
Offices Shelter, Furniture and Equipment
4.8 x 9.6 Warrior Soft Shelters complete with barrel covers with insulation, frames, windows with clear PVC, mosquito gauze, outer storm flap and soft floors. | 2
Distribution boards with outlets for: - 2 x power harnesses with four (4) single wall sockets -2 x auxiliary outlets -2 x 1.2m vapour-proof lights -2 x bulkhead outside lights -2 x emergency lights -4 x brackets for emergency lights -4 x EXIT lights -4 x EXIT light sign | 3 6 6 6 3 6 12 12 12
Doors and Frames
Lockable hard doors with frames | 4
Mosquito screen doors | 4
Fire Protection
Fire extinguisher 4.5kg BSF complete with packaging for hazardous material as required by BIVAC | 2
Smoke detector included | 2
Furniture and Equipment
Top drawer desk | 14
Four drawer cabinet | 14
Typist chair | 14
Visitor chair | 28
Stationary cupboard | 14
Oval boardroom table | 2

## Food Storage
Food Storage
Cold Room Reefer with Equipment
20' (6m) Cold Room Reefer | 1
Stainless steel shelving for cold room reefers, forming 4 tier modular shelving 1150mm x 500mm | 32
Stainless steel shelving for cold room reefers, forming 4 tier modular shelving 850mm x 500mm | 8
Uprights for all shelving | 24
20' (6m) Cold Room Reefer | 1
Stainless steel shelving for cold room reefers, forming 4 tier modular shelving 1150mm x 500mm | 32
Stainless steel shelving for cold room reefers, forming 4 tier modular shelving 850mm x 500mm | 8
Uprights for all shelving | 24
Dry Storage
6m ISO refurbished container with chequered plate flooring and electricity | 2
Galvanized shelving (4 tier chrome wire shelving unit 1200mm x 455 mm x 1830mm) | 8

## Water Provisioning
Water Provisioning
Water Purification Plant
Containerized ROPU Water Purification Plant | 1
Containerized nominal 1000l per hour ROPU Water Purification Plant complete wih the following: -S600 sand filter -S600 activated carbon filter - Filter pump -Reverse Osmosis systemwo (2) bulkhead outside lights -Re-mineralization unit included | 1
Water Storage
Raw water 47 000l mesh dam with tarps and support sets | 1
Clarified water 47 000l mesh dam with tarps and support sets (5 day reserve at 180 l plus per man per say) | 1
Water Reticulation
Main feeder pump staion (5cu/m/h) | 1
Secondary booster pump staion (3cu/m/h) | 1
50mm lay flat | 345m
40mm delivery hose | 55m
25mm delivery hose | 80m
Suction hose | 15m
Ball cock lever valves and adaptor sets | 20
Camlock male and female sets 50mm | 38
Camlock Y and T sets 50mm | 15
Clamps 50mm | 140
Miscellaneous fittings | 1
Plumbing tools including water and sewage | 1

## Waste Water
Waste Water
Waste Water Treatment Plant
Containerized Waste Water Treatment Plant
Biological waste water treatment plant with the capacity to serve 50 persons | 1
2500l tanks between the kitchen , laundry and treatment plant | 2
6m ISO refurbished container with chequered plate flooring and electricity | 1
Waste Water Reticulation
Macerator pumps | 6
50mm lay flat (10 bar) | 380m
Suction hose 50mm | 30m
Camlock Y and T sets 50mm | 18
Camlock male and female connector 50mm | 38
Non-return valve and adapor sets 50mm | 6
PVC fittings and vent valve sets | 6
Miscellaneous fittings | 1
PVC inspection eyes | 20
Ball cock lever valves and adaptor sets | 20
Solid Waste Management
Wheely bins 240l | 10

## Electrical System
Electrical System
Electrical System
Power Generation
150 KVA (prime) 3-phase diesel | 2
Silent weather proof canopy | 2
AMF / ATS with engine pre heat | 2
Dessert air-filter system | 1
Automated Synchronized change over panel | 1
Commissioning of generators | 2
1.2m x 1.2m x 70mm bare copper earth mat | 1
Supply cable (185mm 4-core) between generators and sync panel (per meter) 1200A | 8
Electrical Reticulation | 4
Main standby Distribution Board (DB) complete with all bolts, nuts, gland plates, labels and accessories (supply, commissioning and fitment) | 1
General DBs complete with all bolts, nuts, gland plates, labels and accessories (supply, commissioning and fitment) | 5
Cables various (measures and cut) -16mm 3-core cable -16mm 5-core cable -32mm 5-core cable -50mm 5-core cable -Earth conductor 70mm BCEW -Labels for supply cables | 193m 176m 166m 720m 204m 1 set
Plug and play / conventional -5-pin male industrial 125A plug comply with IP66 specification -5-pin female industrial 125A plug comply with IP66 specification -5-pin male industrial 32A plug comply with IP66 specification -5-pin female industrial 32A plug comply with IP66 specification -5-pin male industrial 63A plug comply with IP66 specification -5-pin female industrial 63A plug comply with IP66 specification -3-pin male industrial 63A plug comply with IP66 specification -3-pin female industrial 63A plug comply with IP66 specification | 20 20 4 4 22 22 33 33

## Fuel Provision
Fuel Provision
Fuel Provision
Diesel engine complete with 40mm fill rite meter, 25mm by-pass, 1" 2 x 6mm hose with ball valve and auto nozzle complete with VFS filter / water separator mounted on a semi-skid. -2 pumps, 2 filters and 2 x 20,000l bladders -Containment / spillage area (tarp) | 1 1 1
Sandbags to build the containment | 100

## Fire Protection
Fire Protection
Fire Protection
Fire Extinguisher 9l foam 6% AFT | 2
Fire Extinguisher 9kg DCP | 2
Packaging for hazardous material (fire extinguishers) as required by BIVAC | 2

## Packaging
Packaging
Packaging Suitable for In-Country Transport
Packaging material - bubble wrap | 10 rolls
Carton boxes | 100
Tie-down ratchet assembly 50mm x 9m | 100