QUOTE

|  |
| --- |
| 06/12/2021 |
| 22001 |
| within 14 days |

Date: Order #: Valid Time:

|  |
| --- |
| LAYOUT : hospital buliding with 220 container modular (3215m2) |
| each container house size : 5.8\*2.48\*2.54m |
|  |
| Body house quotation |



|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S/N | Material | Dimension | Specification | Quantity | Unit |
| 1 | Integral folding room frame |  | galvanized steel & square tube welded & cement board floor 15mm &steel column & steel frame with glass wool roof and 50mm thickness rock wool sandwich panel wall 2480mm\*5800mmx2540mm | 3164.5 | m2 |
| 2 | wall panel |  |
| 3 | wood door for ward room |  | wood door 1200\*2000mm | 119 | pcs |
| 4 | metal double door for access |  | 1800x2000mm | 28 | pcs |



|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 5 | wood single door |  | wood door 900x2000mm | 24 | pcs |
| 6 | Sensor door Operating and ICU |  | metal with Auto-sensor 1800x2000mm | 19 | pcs |
| 7 | PVC window for duty and dingding house |  | PVC frame 930x925mm | 34 | pcs |
| 8 | Iodine resistant rubber floor |  | 2mm thickness | 4746.7 | m2 |
| 9 | PVC ceiling |  | for Access ceiling | 775.5 | m2 |

g



|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 10 | truss and steel sheet of extra roof for each area |  | galvanized steel truss with galvanized steel sheet for extra roof | | 4092.44 | m2 |
| 11 | All accessories part and hard fitting |  |  | |  |  |
| 12 |  |  |  | |  |  |
| Total 1set building | | |  | |  |  |
| Option quotation | | | | | | |
| S/N | Material | Dimension | Specification | Quantity | Unit | price USD |
| 1 | Negative pressure systems |  | each area 360m2 The nurse's station can be made at 5pa, a slight negative pressure -5pa for the corridor, ward room -10pa, bathroom -15pa | 2160.0 | 484 |  |
| 2 | Spray elimination channel with spray facility |  | 2x2.48x2.56m | 10.0 | 3226 |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 3 | Hospital Auxiliary Supplies and Equipment | see attachment |  |  |  | 1,494,338 |
|  |  |  |  |  |  |  |
|  | TOTAL 1set hospital building price | | FOB USD | 3,367,002 |  |  |
|  | sea freight Xingang China to Most safe world ports (to be confirmed) | | USD | 700,000 | 49x40HQ | |
|  | insurance |  | USD | 3330 | sea freight valid end of 15th  December 2021 | |
| one hospital building is 220units foldable container houses support 109beds | | | CIF USD | 4,070,332.00 |  |  |
| Terms and conditions | | | | | | |
| 1.price terms: CIF | | | | | | |
| 2. order quantity: 220units container house with all equipment fit in 49x40HQ. | | | | | | |
| 3.payment terms: Total by L/C ( irrevocable transferable letter of credit) | | | | | | |
| 4.delivery term: within 15-25 days | | | | | | |
|  | | | | | | |