|  |
| --- |
| Solar LED Batten Light Kit Quotation Sheet |
|  |
| NO. | P/N | Picture | Product Description | Package | EXW (USD) |
| 1 | 445-12W |  | 12W Solar LED Batten LightLED Lamp: 2835 LED 120PCS 6000KSolar Panel: 9V 22W, Mono-Crystalline Battery Type: LiFePO4 6.4V 12AH Charging Time: 6-8 hoursDischarging Time: 20-24 hours Material: Aluminum+PCCable Length : 5M Programmable by remote Product Size: 445\*120\*120 mm Warranty: 2 years | Qty/Carton: 8PCSSolar panel: 37x37x35.5cm GW: 14KGLamp: 50.5x40.5x25.5cm GW: 15.5KG | $52.00 |
| 2 | 625-18W |  | 18W Solar LED Batten LightLED Lamp: 2835 LED 180PCS 6000KSolar Panel: 9V 27W, Mono-Crystalline Battery Type: LiFePO4 6.4V 18AH Charging Time: 6-8 hoursDischarging Time: 20-24 hours Material: Aluminum+PCCable Length : 5M Programmable by remote Product Size: 625\*120\*120 mm Warranty: 2 years | Qty/Carton: 8PCSSolar panel: 43x35.5x38cm GW: 16KGLamp: 50.5x40.5x25.5cm GW: 16.8KG | $64.00 |
| 3 | 805-24W |  | 24W Solar LED Batten LightLED Lamp: 2835 LED 240PCS 6000KSolar Panel: 9V 36W, Mono-Crystalline Battery Type: LiFePO4 6.4V 24AH Charging Time: 6-8 hoursDischarging Time: 20-24 hours Material: Aluminum+PCCable Length : 5M Programmable by remote Product Size: 805\*120\*120 mm Warranty: 2 years | Qty/Carton: 6PCSSolar panel: 55x27x38cm GW: 16.5KGLamp: 80.5x31x25.5cm GW: 18.5KG | $73.00 |
| 4 | 1035-30W |  | 30W Solar LED Batten LightLED Lamp: 2835 LED 300PCS 6000KSolar Panel: 9V 55W, Mono-Crystalline Battery Type: LiFePO4 6.4V 30AH Charging Time: 6-8 hoursDischarging Time: 20-24 hours Material: Aluminum+PCCable Length : 5M Programmable by remote Product Size: 1035\*120\*120 mm Warranty: 2 years | Qty/Carton: 4PCSSolar panel: 78x18.5x38cm GW: 13.5KGLamp: 109x21x25cm GW: 19.5KG | $90.00 |
| Remarks:1. 2 years warranty
2. terms: 100% T/T when place the order.
3. The prices are based on EXW.
4. When the exchange rate fluctuates within 3%, our price remains the same, but when the exchange rate fluctuates more than 3%, we have to adjust the price. The adjustment part is half of each other. (The raw material price change range is 10%)
5. The production time is average 30 working days after receiving the deposit.
 |