
|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| LAYOUT : 6.96\*4.1\*2.8/2.6m | | | | | |
|  | | | | | |
| **Body house quotation** | | | | | |
| S/N | **Material** | **Dimension** | **Specification** | **Quantity** | **unit** |
| 1 | Glavanized steel base with guie rail |  | glavanized steel & C-type 2mm & MGO board floor 15mm &steel sheet channel 6960\*4100mm (L\*W) | 28.5 | m2 |







|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 2 | Glavanized steel column |  | U type welding 80\*40\*2mm 2800mm &2600mm (H) | 4 | pcs |
| 3 | EPS sandwich wall panel |  | steel sheet+75mm EPS foam+steel sheet | 82 | m2 |
| 4 | EPS sandwich roof panel |  | steel sheet+75mm EPS foam+steel sheet | 33 | m2 |
| 5 | Aluminum silver sliding door |  | aluminum silver frame with double glass 1500\*2500mm | 1 | pcs |
| 6 | aluminum single door |  | aluminum silver frame with double  glass930\*2500mm | 1 | pcs |



|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 7 | aluminum long window |  | aluminum silver frame with double glass650\*2500mm | | 2 | pcs |
| 8 | aluminum narrow window |  | aluminum sliver frame with double glass1400\*600mm | | 4 | pcs |
| 9 | inside door for bedroom and bathroom |  | two inside door800\*2000mm/750\*2000mm | | 2 | pcs |
| 10 | connecting by bolts and nails |  |  | | 1 | set |
| 11 | Accessories parts |  | 0.5mm steel sheet cover for top wall and ground channel | | 1 | set |
| 12 | FOB cost | from xingang port to our factory and back to Xingang port | | |  |  |
| **Total 1set body empty house FOB Xingang China FOB USD** | | | | | **5708** |  |
| Option quotation | | | | | | |
| S/N | **Material** | **Dimension** | **Specification** | **Quantity** | **Unit** | price USD |
| 1 | composite floor |  |  | 31 | m2 | 251 |



Perserving wood outside wall

2

cladding 38 m2 566

aluminum board for cover

3

outside winodw 24 m2 440

4 sanitary fitting 1 set 490

1.5x0.5x0.85m/ top

5 kitchen cabinet

1.5x0.3x0.5m 1 set 405

1. electrical fitting soeckets/switches/distribution

box 1 set 450

1. aire-conditioner 9000BTU 1 set 380

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 8 | PVC ceiling |  |  | 38 | m2 | 226 |
| 9 | precast wire in the wall |  |  | 1 | set | 250 |
|  | **total option price** | |  |  |  | **3,958** |
|  | **Total 1set house price** | | **FOB USD** | **9,666.00** |  |  |
|  | **Total 50 sets house price** | | **FOB USD** | **483,300** |  | |
|  | **sea freight from Xingang of China to Mersin Port TURKEY 39days arrive** | | | **39,100** |  | |
|  | **insurance** |  | | **510** |  |  |
|  | **total 50 sets houses** | **CIF USD** | | **522,910** |  |  |
| **Terms and conditions** | | | | | | |
| 1.price terms: CIF | | | | | | |
| 2. order quantity: 50 sets (Loading: 50sets in 13x40HQ container.) | | | | | | |
| **3.payment terms: Total by T/T. 50%deposit in advance, 50% the balance before shipment.** | | | | | | |
| 4.delivery term: within 35 days after receiving deposit. | | | | | | |