6X 2MW MWM Gas Engine TCG2020V20 400V Freq 50Hz Natural Gas Containerized

Engine type 			: Containerized TCG 2020 V20

Engine Serial No.		: 220 9998

Generator type		: Marelli MJB 560 LA4 B20

Generator Serial No.		: MZ15736

Installed Capacity		: 2,000 (kW)

| Name Plat Missing |  |  |
| --- | --- | --- |

Engine type 			: Containerized TCG 2020 V20

Engine Serial No.		: 220 9929

Generator type		: Marelli MJB 560 LA4 B20

Generator Serial No.		: MZ15187

Installed Capacity		: 2,000 (kW)

Engine type 			: Containerized TCG 2020 V20

Engine Serial No.		: 220 9972

Generator type		: Marelli MJB 560 LA4 B20

Generator Serial No.		: MZ16007

Installed Capacity		: 2,000 (kW)

Engine type 			: Containerized TCG 2020 V20

Engine Serial No.		: 220 9971

Generator type		: Marelli MJB 560 LA4 B20

Generator Serial No.		: MZ16006

Installed Capacity		: 2,000 (kW)

Engine type 			: Containerized TCG 2020 V20

Engine Serial No.		: 220 9289

Generator type		: Marelli MJB 560 LA4 B20

Generator Serial No.		: MX26620

Installed Capacity		: 2,000 (kW)

Engine type 			: Containerized TCG 2020 V20

Engine Serial No.		: 220 9044

Generator type		: Marelli MJB 560 LA4 B20

Generator Serial No.		: MY16554

Installed Capacity		: 2,000 (kW)